
|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Product Fiche** | | | | | | | | | |
| **Commission Delegated Regulation (EU) 2015/1187**  **Energy Labelling of Local Space Heaters** | | | | | | | | | |
| **Supplier`s Name or Trademark:** | | |  |  |  | **Woodwarm Stoves** |  |  | |
|  |  |  |  |  |  |  |  |  | |
| **Suppliers Model Identifier:** | | |  |  |  | **Fireview Eco 7** |  |  | |
|  |  |  |  |  |  |  |  |  | |
| **Energy Efficiency Class of Model:** | | | |  |  | **A** |  |  | |
|  |  |  |  |  |  |  |  |  | |
| **Nominal Heat Output to Room (kW):** | | |  |  |  | **7,2** |  |  | |
|  |  |  |  |  |  |  |  |  | |
| **Nominal Heat Output to Water (kW):** | | |  |  |  | **n/a** |  |  | |
|  |  |  |  |  |  |  |  |  | |
| **Net Efficiency (%): Wood** | | | | | | **79.0** |  | |  |
|  |  | **Solid Fuel** |  |  |  | **79.0** |  |  | |
|  |  |  |  |  |  |  |  |  | |
| **Energy Efficiency Index:** | | | | | | **105.5** |  | |  |
|  | | |  |  |  |  |  |  | |

****